Enhancing Bone Fracture Detection with Task Specialized Attention Models and Knowledge distillation

Sneha Sharma
Amity Centre for Artificial Intelligence
Amity University, Noida
Uttar Pradesh, India
ssharma54@amity.edu

Amey Ganesh Medewar
Department of Information Technology , Shri Guru Gobing Singhji Institute of Engineering and Technology, Nanded, Maharashtra , India .
2022bit153@sggs.ac.in

Abstract - Accurate and timely detection of bone fractures is essential for effective clinical management and treatment planning. Conventional methods, reliant on manual interpretation of X-ray images by radiologists, are labour-intensive and prone to variability. In recent years, deep learning, especially convolutional neural networks (CNNs), has significantly enhanced fracture detection accuracy by automating image analysis processes. In CNN a special technique known as knowledge distillation has emerged as a promising way within deep learning, enabling the transfer of knowledge from complex "teacher" models to simpler "student" models. This approach boosts computational efficiency and speeds up inference times while maintaining diagnostic precision, making it particularly advantageous in medical imaging.

This research investigates the application of knowledge distillation to develop robust model for automated bone fracture detection from X-ray images. By distilling insights from sophisticated teacher models into streamlined student models, the study aims to optimize fracture detection performance while minimizing computational complexity. Various deep neural network configurations, including multi-head CNNs and Long Short-Term Memory (LSTM) architectures, are explored to enhance the student models' ability to accurately identify fractures across anatomical regions such as the hand, leg, shoulder, and hipbone.

Keywords - CNN, X-RAY, Knowledge Distillation, Bone fracture , teacher-student model.

# INTRODUCTION

One of the significant challenges in the field of orthopedics is the issue of undiagnosed or misdiagnosed bone fractures [Ahmed, K. D.(2023)]. Such diagnostic errors can lead to incorrect treatment plans and result in extended treatment periods. In accidental scenario before an orthopedic specialist can examine the patient, emergency department staff must interpret X-ray images to identify fractures. This task requires a combination of radiological and surgical expertise, which involves time-consuming and specialized training  [Zou J(2024)].

As the rise of advanced deep learning techniques in computer vision has opened up new avenues for fracture detection. By leveraging sophisticated deep learning models, it is possible expedite the detection of bone fractures from X-ray images and reduce the workload for physicians.

In recent years, deep learning models have achieved rapid advancements and demonstrated exceptional performance across various domains. However, these models are often characterized by a large number of parameters, which makes them both large and slow [Gou J(2021)]. The development of advanced computing hardware, such as GPUs and TPUs, has enabled the training and deployment of these complex models in numerous applications [zara A(2021)]. Despite these advancements, deploying deep learning models in mobile and embedded systems, like smartphones or robots, presents significant challenges due to limitations in energy consumption and computational power. This has sparked interest in research focused on methods to reduce the size and complexity of deep learning models while preserving or even enhancing their accuracy. Strategies for achieving this includes optimizing computational operations, employing pruning techniques, quantizing model parameters to minimize memory usage and improve inference speed, and designing more efficient model architectures.

A particularly promising approach in this area is Knowledge Distillation [Gou J(2021)]. This method involves using a large, well-trained model, known as the "teacher," to guide the development of a smaller, more efficient model called the "student" [zara A(2021)]. The goal of knowledge distillation is to transfer the knowledge from the larger model to the smaller one, balancing the need for reduced computational demands with the desire for high performance. The success of this technique heavily depends on the capabilities of the teacher model [Hinton G(2015]. If the teacher model is not sufficiently effective, the distillation process may not yield a highly accurate student model. Conversely, very powerful teacher models can produce overly confident predictions, which might limit the effectiveness of the knowledge transfer. The major contribution of this paper is summarized as follows:

- A novel task specialized knowledge distillation approach is proposed

that aims to train multiple teacher models, focusing on different, non-overlapping regions of X-ray images.

- The multi-head convolutional model is proposed that is capable of detecting features at multiple scales, which is essential given the variability in the appearance of bone fractures.

- Analyzing the performance metrics such as classification accuracy, precision, recall, and F1-score to evaluate the effectiveness of the model under different distribution schemes.

The structure of the remaining paper is organized as follows: In section 2, a review of the existing methods for knowledge distillation and bone fracture detection is presented, highlighting how our proposed method differs from and advances these existing approaches. Section 3 provides a detailed explanation of the proposed method, including its theoretical foundations and practical implications. Section 4 presents the results obtained for the classification of fractured and non-fractured bone X-ray images, while comparing the proposed task specific knowledge distillation method and conventional teacher student knowledge distillation method. These models are also trained under different distribution schemes, highlighting the effectiveness of our proposed approach. Additionally, this section compares the trainable parameter size and memory usage for the proposed teacher student network architecture.  Finally, section 5 extends a conclusion and outlines potential directions for future research.

# RELATED WORK

## Knowledge Distilation

Knowledge Distillation was initially introduced as a model compression technique designed to simplify the training of deep networks by employing a student-teacher framework. In this paradigm, the student model is trained based on a softened version of the output produced by the teacher model [Hinton G(2015]. The underlying premise is that the knowledge learned by the teacher model is embedded within the soft probabilities of its predictions. Thus, to effectively train a student model to think in the same way as the teacher, it is essential to transfer the similarities between classes for each sample, rather than focusing solely on the final predictions. To facilitate the transfer of this knowledge, which reflects the similarities between different classes, Hinton et al. [Hinton G(2015] introduced a temperature parameter 𝑇 in the SoftMax activation function. This parameter allows for adjusting the smoothness of class probability estimations, making the output distribution less spiked and more informative.

More specifically, Knowledge Distillation operates as follows. Let {Ki|i=1,2…,n} represent a set of n training samples with L classes, and let N(⋅) ∈RL denote the teacher network that outputs logits for each class. For simplicity, Spq refers to the qth logit for the p-th training sample. The probability of the q-th class for the p-th sample is then estimated as:

Xpq=exp⁡( Spq /T)Lexp⁡(  Spq /T)                                                           (1)

Higher values of T result in a smoother, softer probability distribution, whereas lower values produce a more peaked distribution. When appropriately tuned, the temperature parameter reveals intra-class similarities for each sample, aiding in the knowledge transfer process.

The student model, denoted as Mj(⋅)​, where j represents its trainable parameters. The soft probabilities of the student model, Ypq ​, are computed in the same manner as Xpq​, and Z'pq is used to denote the student model's output when T=1. The overall distillation loss function is then defined by combining the standard cross-entropy loss with the constraint that encourages the student to mimic the teacher's behavior [4]:

LossKD = -αp=1nq=1LXpqlogYpq-1-α p=1nq=1LZpqlogZ'pq.                                                (2)

where Zp represents the one-hot encoded ground truth label for the p-th sample, and α ∈[0,1] is a hyperparameter that controls the balance between the distillation process and the regular training of the student model. This approach allows the student model to simultaneously learn from the teacher's output and the ground truth labels.

## Applications of Knowledge Distilation

Knowledge distillation has emerged as a powerful technique for transferring knowledge from large, complex neural networks to smaller, more efficient models, enabling their deployment in resource-constrained environments without significant loss in performance. Beyond model compression, Knowledge distillation has been employed for various applications. For instances, in the study by [Zheng et al. (2024)], knowledge distillation was applied to the recognition and classification of Chinese herbal medicine using a dual-teacher supervised decay (DTSD) model. The dual-teacher framework allowed the model to optimize predictions by combining soft labels from two teacher models, ResNet50_vd and DenseNet121, significantly improving recognition accuracy and robustness. The study reported an impressive classification accuracy of 98.60% while maintaining a compressed model size of 10 MB. [Li et al. (2023)] explored the application of knowledge distillation for low-light image enhancement, addressing the challenges of high computational cost in convolutional neural network (CNN)-based methods. The proposed teacher-student framework used gradient-guided networks, where the student network learned from the teacher network via attention map-based distillation loss. [Cheng Dai et al. (2023)] introduce a lightweight model for human action recognition using skeleton-based features, focusing on edge computing environments, where resources are limited. Their novelty lies in using tucker decomposition to transfer knowledge from a large teacher model to a smaller student model, ensuring efficiency in edge devices. [Zhou W (2024)] have shown that, KD is applied through a dual semantic approximation network (DSANet-KD) to improve rail surface defect detection. The focus was on both foreground and background knowledge using a teacher-student framework. Specifically,

Table 1: Literature Review on KD

| No. | Data | Dataset | Model | Evaluation | Application |
| --- | --- | --- | --- | --- | --- |
| [9] | Rail Surface Images | Not available | Ds ANet-KD | Adversial sample success rate 0.45 | To address the common problem of balance between number of parameters and accuracy Of RSDD models |
| [10] | Dermatoscopic images | ISIC-2020 dataset | EfficientNet B5 (FL): teacher EfficientNet B2 with distillation : Student | Not available | For Accurate melanoma classification |
| [11] | Pediatric wrist images | Medical University of Graz provides a public dataset named GRAZEPEDWRI-DX | YOLO-V8 | Not available | The application is Designed to assist pediatric surgeons in analyzing fractures on pediatric wrist trauma x-ray images |
| [12] | Bone Fracture images | Not available | Different machine learning methods (Naïve Bayes,Random Forest,SVM,Decision Tree | Between 0.64 and 0.92 | Creating a program to help doctors for bone fracture analysis very quickly |
| [13] | Facial expression | AffectNet dataset | Light weight Mobile-Net v2 using KD | Not available | For facial expression recognition |

a thoroughly trained teacher defect detection network equipped with dual semantic approximation information guides the student network's training.  KD effectively enhances object detection, improves low-precision network performance, and boosts self-supervised learning by leveraging different models for pretext and main tasks. In another work by [Adepu, A. K., (2023)], they employed KD for efficient classification of melanoma from dermatoscopy images.  Initially the teacher model is a pre-trained EfficientNet-B5, and the student model is a smaller EfficientNet-B2.  The knowledge distillation process involves using the predictions of the teacher model as soft targets to guide the student model's learning, in addition to the hard targets (ground truth labels). These diverse applications demonstrate the versatility of knowledge distillation in addressing various challenges in machine learning, including model compression, accuracy improvement, and robustness enhancement.

# PROPOSED METHODS

## 3.1  Task-Specialized Knowledge Distillation

Task-Specialized Knowledge Distillation (TSKD) is an effective framework (Shown in figure.1 ) for developing a generalized model by leveraging the expertise of multiple specialized teacher models. In this framework, each teacher model is independently trained on a specific bone fracture category, such as hip, hand, or leg fractures, using datasets tailored to their respective domains. These teacher models achieve high accuracy by focusing on their specialized tasks. A student model is then trained to generalize across all bone fracture categories using a combined dataset containing examples from all domains. Knowledge is transferred from the teacher models to the student through the knowledge distillation process.

During training, each teacher model outputs logits (zi) corresponding to its specific fracture category, which are converted into softened probabilities using a SoftMax function with a temperature parameter (T). These softened probabilities (pi​) act as soft targets, providing the student model with valuable insights into the teacher models' decision-making processes. The logits from all teachers are aggregated, either by averaging or weighted summation, to produce a unified output distribution. The student model is trained using a combination of the soft targets and the ground truth labels, with the total loss comprising two components: the distillation loss and the classification loss. The distillation loss minimizes the divergence between the student's predictions and the soft targets, while the classification loss ensures that the model adheres to the ground truth labels. The overall loss function is formulated as

L= α Ltask +(1− α) Ldistill,                                          (3)

where λ balances the importance of the two terms. The distillation loss is defined as the cross-entropy between the teacher's soft targets and the student's predictions, while the classification loss uses the ground truth labels for supervision. A higher temperature T is employed to soften the probability distribution of the teacher models, enabling the student to learn finer-grained relationships between classes. By combining task-specific expertise from multiple teacher models, the student gains a comprehensive understanding of all bone fracture categories. The student model's performance is then evaluated on a combined dataset to ensure its generalization across all tasks.

This framework presents several advantages. By training specialized teacher models and consolidating their knowledge into a single student model, TSKD achieves both specialization and generalization. The process enhances the performance of the student model while reducing the computational complexity of deploying multiple teacher models. This approach is particularly valuable in medical imaging, where domain-specific models for detecting fractures in different bones can be unified into a robust and efficient model.

Figure 1. Overview of Task specialized knowledge distillation framework

## 3.2  Teacher Network Architecture

Figure 2 presents a teacher network architecture designed for detecting bone fractures from X-ray images. The input layer processes X-ray images resized to 128×128, ensuring uniform dimensions for computational efficiency and compatibility. The architecture employs a two-head design for multi-scale feature extraction, where each head uses two convolutional layers with filter sizes of 8 and 16 and kernel sizes of 3×3 and 5×5, respectively. Smaller kernels (3×3) capture local details like fine cracks or sharp edges, while larger kernels (5×5) focus on global structural anomalies or broader patterns. MaxPooling (2×2) further reduces spatial dimensions while retaining critical features..

The spatial attention mechanism enhances the architecture's capability to focus on fracture-relevant areas. For each feature map Fi,j,k​, the spatial attention module applies a global average pooling operation, which captures global feature distribution:

Gk= 1H ×W i=1Hj=1WFi,j,k                                 (4)

where Gk is the globally averaged value for the k-th channel, H and W are the height and width of the feature map, and Fi,j,k​ is the feature map value at location (i,j).

A 1×1 convolution is then used to compute an attention map Ai,j,k​:

Ai,j,k=σ(Conv1×1Gk)                                    (5)

where Ai,j,k​ is the attention weight at location (i,j) for the k-th channel, Conv 1×1​ represents the 1×1 convolution applied to Gk where σ is the sigmoid activation function. The attention map refines the feature map by performing an element-wise multiplication emphasizing fracture-relevant regions while suppressing irrelevant features.

Fi,j,k'= Ai,j,k . Fi,j,k                                             (6)

where Fi,j,k'​ emphasizes fracture-relevant regions by element-wise multiplication of the attention map Ai,j,kwith the original feature map Fi,j,k​.

The refined features are processed through a time-distributed layer and an LSTM block with 30 units, which models sequential dependencies and multiple perspectives from X-ray views. The LSTM operations are defined as:

Ht=f(Wdense .  Ft'+ bdense)                                       (7)

The LSTM block models sequential dependencies through its gates and cell state. The input gate is given by:

it= σWxi . Ht-1+Whi . Xt+ bi                                (8)

whereitcontrols the information added to the cell state, Xt is the input feature at time step t, Ht-1​ is the hidden state from the previous time step, and Wxi ,Whi ,  bi are weights and bias terms for the input gate.

The forget gate is defined as:

ft= σWxf . Ht-1+Whf . Xt+ bf                              (9)

and the output gate as:

ot= σWxo . Ht-1+Who . Xt+ bo                             (10)

The cell state ct is updated using:

ct=ft⋅ct-1+it⋅tanh(Wxc . Ht-1+Whc . Xt+ bc)    (11)

and the hidden state Htis calculated as

Ht= ot . tanh(Ct)                                                        (12)

Finally, the fully connected layers, integrated with Dropout (set to 0.4), mitigate overfitting—particularly important for limited medical datasets. The output layer applies a sigmoid activation to generate a probability score:

y= σWfinal . H + bfinal                                          (13)

providing interpretable predictions for fracture detection. This architecture ensures the network captures both local and global patterns critical for accurate clinical assessments.

## Student Network Architecture

Figure 3 illustrates the student network architecture, which is computationally efficient and tailored as a resource-conservative counterpart to the teacher model, aiming to maintain high fracture detection accuracy. Like the teacher network, the student processes input X-ray images resized to 128×128, ensuring standardized dimensions for effective feature extraction and seamless alignment with the teacher during knowledge distillation. The head of the student network features a streamlined convolutional architecture. It begins with two convolutional layers using 8 and 16 filters, respectively, each with a kernel size of 3×3, to capture key local features like small cracks or edges. To reduce computational complexity, each convolutional layer is followed by MaxPooling operations with a pool size of 2×2, effectively downsizing spatial dimensions and emphasizing significant patterns critical for fracture detection. To prioritize fracture-relevant regions, the student model

Figure 3. Single head spatial attention-based student network architecture

Figure 2. Multi head spatial attention-based teacher network architecture

.

incorporates a spatial attention module. This module generates attention maps to highlight areas critical for identifying fractures while suppressing less relevant regions, improving overall feature extraction efficacy.

The intermediate feature maps are further processed through a TimeDistributed LSTM block, enabling sequential dependency modeling. This is particularly useful for scenarios requiring multi-view analysis or temporal context. The LSTM's output undergoes flattening before being passed into a fully connected dense layer with 3 units and a ReLU activation function to produce compact feature representations. To mitigate overfitting, a Dropout layer with a rate of 0.4 is introduced before the classification phase. The network concludes with a single output neuron using a sigmoid activation function, which provides a binary probability score indicating the presence or absence of a fracture. This architecture effectively utilizes knowledge distilled from the teacher model to balance computational efficiency with high predictive accuracy, fulfilling clinical fracture detection requirements.

## Dataset and evaluation setup

Table 2: Dataset Description about number of fractured and non-fractured X-ray images

| X-Ray Images | Fractured | Non-Fractured |
| --- | --- | --- |
| Hand | 438 | 1100 |
| Leg | 212 | 1212 |
| Hip Bone | 57 | 263 |
| Combined | 707 | 2575 |

The proposed model was evaluated using the FractAtlas dataset, available open source [Abedeen, I., Rahman, M. A., (2023).], The Frac-Atlas dataset is an extensively curated collection of approximately 3,300 high-resolution X-ray images specifically designed for bone fracture detection. It stands out from existing fracture datasets by encompassing a diverse range of fracture types—both common and rare—across varying levels of complexity, from clear, easily visible fractures to subtle, minute ones. This diversity ensures a comprehensive training ground for robust fracture detection algorithms. Additionally, the dataset includes images categorized into fracture and non-fracture classes spanning three anatomical regions: hand, leg, and hip bone as shown in Table 2. Annotated fracture locations, along with detailed metadata such as patient demographics, fracture types, and severity, make Frac-Atlas a helpful resource for advancing both academic research and clinical applications.

To optimize model performance, various preprocessing techniques were applied to the dataset, focusing on enhancing contrast, edge detection, and size scaling to highlight differences between classes. Given the inherent class imbalance in the dataset, data augmentation strategies were employed to balance the distribution of fracture and non-fracture samples. The model development process involved training three distinct teacher networks, each specializing in a specific subset of the dataset segmented using the provided metadata. These teacher models were subsequently integrated through knowledge distillation to develop a lightweight student model. This approach ensured that the distilled student network retained the essential capabilities of the teachers while being computationally efficient.

# EXPERIMENTAL EVALUATION

Table 5: Performance analysis of Different Models after distillation

| Model | Training Accuracy | Testing Accuracy |
| --- | --- | --- |
| Single teacher, Single Student | 90.13 | 87.45 |
| Unified Ensemble of teachers, single student | 92.67 | 89.97 |
| Task Specialized Ensemble of teacher, Single Student | 97.38 | 93.81 |

The results in Table 3 highlight the impact of training and testing data distributions on model accuracy when applied to X-ray images of different bones (hand, leg, and hip). The model achieved its highest accuracy (84.46%) when both training and testing were performed on a combined dataset, demonstrating strong performance when the data distribution was consistent. However, accuracy significantly dropped when the model was tested on data from a different distribution. Training on hand and leg X-rays and testing on hip X-rays resulted in a low accuracy of 36.23%, indicating poor feature transferability. Similarly, training on hand and hip X-rays while testing on leg X-rays achieved 53.72% accuracy, and training on leg and hip X-rays while testing on hand X-rays yielded the lowest accuracy of 47.67% in cross-distribution scenarios. These results underscore the importance of representative datasets for robust performance and reveal challenges in generalizing across distributions, highlighting the need for domain adaptation and transfer learning techniques in medical imaging tasks.

Table 3: Training accuracies of Models on different combinations of data

|  | Training Data | Testing Data | Training Accuracies(%) |
| --- | --- | --- | --- |
| Same Distribution | Combined | Combined | 84.46 |
|  | Hand, Leg | Hip | 36.23 |
| Different Distribution | Hand, Hip | Leg | 53.72 |
|  | Leg, Hip | Hand | 47.67 |

Table 4: Training accuracies of Models on segregated data

| Data | Student | Single Teacher | Ensemble of teacher |
| --- | --- | --- | --- |
| Hand | 81.93 | 90.32 | 92.03 |
| Leg | 83.18 | 89.66 | 89.87 |
| Hip | 83.78 | 88.21 | 91.58 |

Table 4 illustrates the training accuracies of three different models—Student Model, Single Teacher Model, and Ensemble of Teacher Models—on segregated X-ray data of bones (hand, leg, and hip). Across all categories, the Ensemble of Teacher Models consistently achieved the highest accuracy, with 92.03% for hand, 89.87% for leg, and 91.58% for hip X-rays, showcasing its superior ability to leverage collective knowledge from multiple teacher models for enhanced performance. The Single Teacher Model also performed well, attaining accuracies of 90.32% for hand, 89.66% for leg, and 88.21% for hip, demonstrating its capability to effectively guide the learning process for the student model. However, the Student Model alone exhibited comparatively lower accuracies—81.93% for hand, 83.18% for leg, and 83.78% for hip—indicating its limitations in extracting intricate features from the data independently. These results highlight the advantage of employing teacher models, particularly ensembles, in improving the learning and predictive accuracy of models trained on segregated medical imaging datasets.

Figure 4. Performance of student model with varying hyperparameter alpha when knowledge is distilled from a task specialized teacher model

Figure 5. Performance of student model with varying hyperparameter Temperature when knowledge is distilled from a task specialized teacher model

The results presented in Table 5 demonstrate the impact of different teacher model configurations on the performance of a single student model in knowledge distillation applied to a combined unbalanced dataset of bone X-ray images (leg, hand, and hip). The Single Teacher-Single Student approach achieved a training accuracy of 90.13% and a testing accuracy of 87.45%, reflecting a baseline level of performance with moderate generalization. In contrast, the Unified Ensemble of Teachers-Single Student method, which leverages diverse perspectives from multiple teachers, improved both training and testing accuracy to 92.67% and 89.97%, respectively, showcasing the benefits of ensemble-based knowledge distillation. Finally, the Task-Specialized Ensemble of Teachers-Single Student configuration, where teachers are specialized in specific tasks, achieved the highest performance, with a training accuracy of 97.38% and a testing accuracy of 93.81%. This substantial improvement underscores the efficacy of task specialization in enhancing the richness and relevance of the knowledge transferred to the student model, particularly when dealing with complex, unbalanced datasets like medical imaging.

To employ knowledge distillation, the ideal values of hyperparameters “Temperature” and “alpha”, are determined by varying them when distilling knowledge from a task specialized teacher model to student model. Figures 4 and 5 show the performance of student network on the test data, when knowledge is distilled from task specialized teacher model. Figure 4.  illustrates the impact of varying the "alpha" value in a knowledge distillation task for bone fracture detection, details on how the weighting of different loss functions affects the performance of the student model. In this context, "alpha" serves as a weighting factor that balances the influence of two loss functions during the training process: the student loss, which measures the error between the student’s predictions and the true labels of the bone fracture dataset (e.g., hand, hip joint, leg fracture, and non-fracture), and the distillation loss, which quantifies the difference between the student’s predictions and those of the teacher model. A higher alpha value places greater emphasis on mimicking the teacher’s predictions, while a lower alpha value prioritizes learning directly from the original data. The plot's X-axis represents the training epochs (the number of training cycles), where performance generally improves with more epochs, while the Y-axis indicates validation accuracy, reflecting the student model’s ability to detect bone fractures on unseen data. The graph compares three alpha values: 0.25, 0.5, and 0.75. Notably, the alpha value of 0.25 achieves consistently higher accuracy across the training process, outperforming the other values. In contrast, alpha values of 0.5 and 0.75 show comparable performance in the early epochs but plateau as training progresses, suggesting that excessive reliance on the teacher’s predictions may limit the student’s learning potential and generalization. The superior performance of alpha=0.25 can be attributed to its ability to strike a balance between independent learning from the original data and leveraging the teacher’s guidance. This balanced approach prevents overfitting to the teacher’s predictions, which can occur with higher alpha values, and allows the student to learn more generalizable features, resulting in improved accuracy on the validation set. This analysis underlines the critical role of tuning the alpha parameter in knowledge distillation, as it directly impacts the student model’s ability to balance guidance from the teacher with learning from the data.

Additionally figure 5. illustrates the performance of a knowledge distillation task across different "temperatures," providing insights into how the choice of temperature affects the accuracy of a student model trained to replicate a teacher model's predictions. Temperature parameter adjusts the softness of the probability distributions output by the teacher model, with higher temperatures producing more uniform and nuanced predictions. The plot compares the student model's performance under three different temperatures (Temp=4, Temp=6, and Temp=8). Temp=6 emerges as the best-performing configuration, achieving consistently higher accuracy than Temp=4 or Temp=8, especially in later epochs. This suggests that Temp=6 strikes an optimal balance in transferring knowledge by blending the teacher's hard predictions (seen at lower temperatures) with its softer, more generalized probability distributions (seen at higher temperatures), enabling the student to learn more nuanced features. Temp=4, while starting strong, plateaus early, likely due to the student overfitting to the teacher's predictions, resulting in reduced generalization to unseen data. On the other hand, Temp=8, though initially slower, shows steady improvement over epochs, likely benefiting from softer predictions that help the student generalize better in the long term. The success of Temp=6 highlights its ability to balance knowledge transfer and generalization, making it the "sweet spot" for this specific task. This analysis underscores the importance of tuning the temperature parameter in knowledge distillation, as it plays a crucial role in optimizing the student model’s performance, particularly for a

Table 6: Training time and trainable parameter

| Model | Training time (sec) | Training Parameters | GPU Memory byte |
| --- | --- | --- | --- |
| Student Model | 2661.04 | 1,944 | 5428 |
| Task Specialized Teacher Model. | 9964.15 | 41,671 | 16963 |

specialized application like bone fracture detection.

# CONCLUSION

This study introduces a task-specialized knowledge distillation framework to improve bone fracture detection from X-ray images, leveraging a teacher-student architecture. By employing multiple task-specific teacher models, each trained on distinct subsets of fracture types (e.g., hand, leg, hip fractures), and transferring their expertise to a single lightweight student model, the approach balances computational efficiency with high diagnostic accuracy. The experiments conducted on the FracAtlas dataset demonstrate that the proposed method significantly enhances the student's performance compared to traditional knowledge distillation setups. Key findings reveal that fine-tuning hyperparameters, such as the temperature and alpha values, plays a critical role in optimizing the knowledge transfer process. The study shows that the task-specialized teacher ensemble achieves superior generalization across diverse fracture types, as evidenced by its higher testing accuracy and reduced computational demands compared to single-teacher approaches. This framework offers a scalable and efficient solution for deploying deep learning-based fracture detection systems in resource-constrained environments, such as mobile or embedded medical devices. Future research could explore integrating additional modalities, such as CT or MRI data, and refining domain adaptation techniques to further enhance the robustness of fracture detection in clinical practice.

.

# References

- Ahmed, K. D., & Hawezi, R. (2023). Detection of bone fracture based on machine learning techniques. Measurement: Sensors, 27, 100723.

- Zou, J., & Arshad, M. R. (2024). Detection of whole body bone fractures based on improved yolov7. Biomedical Signal Processing and Control, 91, 105995.

- Gou, J., Yu, B., Maybank, S. J., & Tao, D. (2021). Knowledge distillation: A survey. International Journal of Computer Vision, 129(6), 1789-1819.

- Zaras, A., Passalis, N., & Tefas, A. (2021). Improving knowledge distillation using unified ensembles of specialized teachers. Pattern Recognition Letters, 146, 215-221.

- Hinton, G., Vinyals, O., & Dean, J. (2015). Distilling the knowledge in a neural network. arXiv preprint arXiv:1503.02531.

- Zheng, L., Long, W., Yi, J., Liu, L., & Xu, K. (2024). Enhanced Knowledge Distillation for Advanced Recognition of Chinese Herbal Medicine. Sensors, 24(5), 1559.

- Li, Z., Wang, Y., & Zhang, J. (2023). Low-light image enhancement with knowledge distillation. Neurocomputing, 518, 332-343.

- Dai, C., Lu, S., Liu, C., & Guo, B. (2024). A light-weight skeleton human action recognition model with knowledge distillation for edge intelligent surveillance applications. Applied Soft Computing, 151, 111166.

- Zhou, W., Hong, J., Ran, X., Yan, W., & Jiang, Q. (2024). DSANet-KD: Dual semantic approximation network via knowledge distillation for rail surface defect detection. IEEE Transactions on Intelligent Transportation Systems.

- Adepu, A. K., Sahayam, S., Jayaraman, U., & Arramraju, R. (2023). Melanoma classification from dermatoscopy images using knowledge distillation for highly imbalanced data. Computers in biology and medicine, 154, 106571.

- Ju, R. Y., & Cai, W. (2023). Fracture detection in pediatric wrist trauma X-ray images using YOLOv8 algorithm. Scientific Reports, 13(1), 20077

- Sahin, M. E. (2023). Image processing and machine learning‐based bone fracture detection and classification using X‐ray images. International Journal of Imaging Systems and Technology, 33(3), 853-865.

- Mollahosseini, A., Hasani, B., & Mahoor, M. H. (2017). Affectnet: A database for facial expression, valence, and arousal computing in the wild. IEEE Transactions on Affective Computing, 10(1), 18-31.

- Abedeen, I., Rahman, M. A., Prottyasha, F. Z., Ahmed, T., Chowdhury, T. M., & Shatabda, S. (2023). Fracatlas: A dataset for fracture classification, localization and segmentation of musculoskeletal radiographs. Scientific Data, 10(1), 521.

- Papernot, N., McDaniel, P., Wu, X., Jha, S., & Swami, A. (2016, May). Distillation as a defense to adversarial perturbations against deep neural networks. In 2016 IEEE symposium on security and privacy (SP) (pp. 582-597). IEEE.

- Rusu, A. A., Colmenarejo, S. G., Gulcehre, C., Desjardins, G., Kirkpatrick, J., Pascanu, R., ... & Hadsell, R. (2015). Policy distillation. arXiv preprint arXiv:1511.06295.

- Nair, A. M., Shreekumar, S., Sanap, T., Sarkar, R. K., & Narawade, V. E. (2024). Bone Fracture Detection using Artificial Intelligence-A Systematic Review. Grenze International Journal of Engineering & Technology (GIJET), 10.

- Bhatnagar, A., Kekatpure, A. L., Velagala, V. R., & Kekatpure, A. (2024). A Review on the Use of Artificial Intelligence in Fracture Detection. Cureus, 16(4).

- Parvin, S., & Rahman, A. (2024). A real-time human bone fracture detection and classification from multi-modal images using deep learning technique. Applied Intelligence, 1-17.

- Dai, C., Liu, X., Li, Z., & Chen, M. Y. (2021). A tucker decomposition based knowledge distillation for intelligent edge applications. Applied Soft Computing, 101, 107051

.